## Slide 1
Smart Building Energy Optimization Assistant
Demonstration of Use Cases 7–9
Course: CISC 699 – Applied Project
Student: Venkat Shyam Damagatla
Date: June 15, 2026

## Slide 2: Introduction
Good day everyone. Today I will demonstrate Use Cases 7, 8, and 9 of my Smart Building Energy Optimization Assistant project.
The purpose of this system is to improve energy efficiency while maintaining occupant comfort within a smart building environment.
In previous demonstrations, I showed how the system registers building profiles, imports occupancy schedules, forecasts energy demand, recommends HVAC adjustments, applies approved plans, and adapts to occupancy changes.
Today's demonstration focuses on comfort monitoring, explainable recommendations, and reporting capabilities.

## Slide 3: Project Overview
• Reduce building energy consumption
• Maintain occupant comfort
• Support data-driven decision making
• Provide transparency and measurable savings
Key Components:
Occupancy Data Service, Forecasting Service, Optimization Service, Comfort Monitoring Service, Reporting Service
The Smart Building Energy Optimization Assistant is designed to help facility managers optimize building operations. The system combines occupancy schedules, weather forecasts, and device information to generate intelligent recommendations. The use cases presented today focus on ensuring occupant comfort, explaining why recommendations are generated, and providing measurable evidence of energy savings.

## Slide 4: Demonstration Scope
UC4.7 – Detect Comfort Violation Risk
UC4.8 – Explain Recommendation
UC4.9 – Generate Daily Savings Report
This demonstration focuses on three important capabilities. First, the system continuously monitors building conditions and identifies areas where occupants may become uncomfortable. Second, the system explains its recommendations so facility managers understand the reasoning behind optimization decisions. Third, the system generates reports showing actual energy savings achieved through optimization.

## Slide 5: System Architecture
Facility Manager → Comfort Monitoring Service → Optimization Service → Explanation Service → Reporting Service → Dashboard
Data Sources:
• Occupancy Schedules
• Weather Forecasts
• Sensor Data
• Device Status
This slide shows the major components involved in today's demonstration. The Comfort Monitoring Service evaluates temperatures and comfort conditions. The Optimization Service generates recommendations. The Explanation Service provides reasoning behind those recommendations. The Reporting Service calculates energy savings and generates reports.

## Slide 6: Use Case 7 – Detect Comfort Violation Risk
Objective: Detect zones where energy-saving plans may cause discomfort.
Inputs:
• Temperature readings
• Occupancy information
• Comfort thresholds
Outputs:
• Risk alerts
• Risk scores
• Mitigation recommendations
The objective of Use Case 7 is to ensure occupant comfort. The system continuously evaluates temperature readings, occupancy levels, and predefined comfort thresholds. If a risk is detected, alerts are generated before occupants experience discomfort.

## Slide 7: UC7 Demonstration
Conference Room Temperature: 79°F
Threshold: 75°F
Occupancy: 22 People
System Actions:
1. Detect threshold violation
2. Calculate risk score
3. Generate alert
4. Recommend corrective action
In this example, the conference room temperature has reached 79 degrees Fahrenheit, exceeding the comfort threshold. The system automatically detects the violation, calculates a risk score, generates an alert, and recommends corrective actions.

## Slide 8: Comfort Risk Results
Recommendation: Increase cooling in Conference Room immediately.
This table shows the output generated by the comfort monitoring service. Most zones remain within acceptable comfort levels. However, the conference room exceeds the threshold and receives a high-risk classification.
Zone | Temperature | Threshold | Risk Level
Lobby | 73°F | 75°F | Low
Conference Room | 74°F | 75°F | Low
Office Area | 79°F | 75°F | High

## Slide 9: Use Case 8 – Explain Recommendation
Example Recommendation:
Increase HVAC setpoint from 72°F to 74°F.
Information Used:
• Occupancy Forecast
• Weather Forecast
• Comfort Constraints
• Energy Demand Forecast
Use Case 8 focuses on transparency and trust. Facility managers often want to understand why a recommendation was generated before approving it. The system retrieves all relevant information and generates a human-readable explanation.

## Slide 10: UC8 Demonstration
Recommendation: Increase Lobby Setpoint from 72°F to 74°F
Reasoning:
• Occupancy expected to decrease by 40%
• Outdoor temperature remains moderate
• Comfort threshold remains satisfied
• Estimated energy savings of 12%
In this example, the system recommends increasing the lobby temperature setpoint by two degrees. The explanation clearly states why the recommendation is being made and the expected benefits.

## Slide 11: Use Case 9 – Generate Daily Savings Report
Report Includes:
• Baseline Energy Usage
• Optimized Energy Usage
• Total Savings
• Percentage Savings
The purpose of Use Case 9 is to quantify the value delivered by the optimization system. The reporting service compares actual energy consumption against baseline consumption and calculates savings metrics.

## Slide 12: UC9 Demonstration
Baseline Usage: 1,250 kWh
Optimized Usage: 1,080 kWh
Energy Saved: 170 kWh
Savings Percentage: 13.6%
Estimated Daily Cost Savings: $28.50
This report shows the measurable impact of optimization. Consumption decreased from 1,250 to 1,080 kilowatt-hours, resulting in significant energy and cost savings.

## Slide 13: Conclusion
✓ UC4.7 – Detect Comfort Violation Risk
✓ UC4.8 – Explain Recommendation
✓ UC4.9 – Generate Daily Savings Report
In conclusion, today's demonstration showed proactive comfort monitoring, explainable recommendations, and measurable energy savings. Together, these capabilities improve transparency, maintain occupant comfort, and demonstrate the value of intelligent energy optimization. Thank you.